## Criteria
General Notes
|  | 1 | Zero in any category is a deal-killer
|  | 2 | I&C Analysis only to be done once advanced from Operating Thermal and Redevelopment ranking criteria. Thresholds still tbd
|  | 3 | Great Attribute
|  | 4 | Good not great attribute
|  | 5 | Neutral or slightly negative attribute
|  | 6 | Bad Attribute
7
Operating Thermal |  |  |  | Comments | Flow Diagram
Overall Operating Thermal Score
| 100% | 2.95 | =[Unit COD]*Weight+[Capacity Factor]*Weight+… | Portfolio should aggregate score by relative capacity weight. Two assets of 800 & 200 MW will be apportioned 80% and 20%, respectively
| 25% |  | Overall Score receives a 25% boost based on PT Strategic | Qualitative Adders
25%
x | Gate | Capacity/Size
|  | 1 | >50MW Individual asset or >150 MW in aggregate for portfolio | First Draft
|  | 0 | <50MW Individual asset or <150 MW in aggregate for portfolio | First Draft
x | Gate | Fuel
|  | 1 | Gas, Oil
|  | 0 | Solar, Wind, Coal, BESS
x | Score Weight | Unit COD
| 20% | 3 | <2000 | First Draft
|  | 2 | 2000-2005 | First Draft
|  | 1 | >2005 | First Draft
x | Score Weight | Capacity Factor
| 0% | 3 | <10% | First Draft
|  | 2 | 10-25% | First Draft
|  | 1 | 25-100% | First Draft
x | Score Weight | Markets
| 30% | 3 | PJM, NYISO, ISO-NE | Confirm w/Aaron
|  | 2 | MISO North, SERC | Confirm w/Aaron
|  | 1 | SPP, MISO South | Confirm w/Aaron
|  | 0 | ERCOT, WECC, CAISO | Confirm w/Aaron
x | Score Weight | Transactability
| 30% | 3 | Bilateral w/ developed relationship | To be evaluated in relation to enviro attributes and comp adv
|  | 2 | Bilateral w/new relationship or Process w/less than 10 bidders | To be evaluated in relation to enviro attributes and comp adv
|  | 1 | Highly Competitive Process - More than 10 Bidders | To be evaluated in relation to enviro attributes and comp adv
x | Score Weight | Thermal Optimization Potential
| 5% | 2 | Readily apparent value add - wet compression, staffing, thermal blankets, dual-fuel, spare parts program, etc. | These may not be known until a "Round 2"
|  | 1 | No readily identifiable value add | These may not be known until a "Round 2"
x | Score Weight | Environmental Considerations
| 15% | 3 | Environmental liabilities are known, mitigable, and PT has a relative cost advantage | These may not be known until a "Round 2"
|  | 2 | Environmental liabilities are known, mitigable, but PT has no relative cost advantage | These may not be known until a "Round 2"
|  | 1 | Environmental liabilities are not known | These may not be known until a "Round 2"
|  | 0 | Environmental Liabilities are known and not mitigable | These may not be known until a "Round 2"
Redevelopment - Power |  |  |  |  | Flow Diagram
Overall Power Redevelopment Score
100%
x | Score Weight | Market
| 40% | 3 | Primary
|  | 2 | Secondary
|  | 1 | Uncertain
|  | 0 | Challenging
| Score Weight | Overall Infra Score
| 30% |  | A score less than 2 is rejected -> minimal advantage and available MW
x |  | Land Availability
|  | 3 | Sufficient land onsite for all development activities
|  | 2 | Some developable land onsite with readily available/transactable parcel nearby
|  | 1 | No land onsite for development, but land available nearby and readily available or transactable
|  | 0 | No land onsite of offsite nearby
x |  | Utilities (Gas, water, wastewater (data center - Fiber) - Score to the obstacle)
|  | 3 | Sufficient Utilities Existing Onsite Now
|  | 2 | Sufficient Gas/Utilities in the area and low cost to connect (e.g., no lateral built major pipe within [5] miles)
|  | 1 | Sufficient Gas, high cost; viability uncertain
|  | 0 | No clear path to utility connection
|  | N/A | BESS and Solar
| Score Weight | Overall IX Score
| 30% | 3 | Secured IX Rights
x |  | 2 | No network/POI upgrades at desired MW (Unsecured)
|  | 1 | Minimal network and POI upgrades required at a desired MW (Unsecured)
|  | 0 | Major network or POI upgrades required at a desired MW (Unsecured)
Please note that deliverability/CRIS/NRIS study will still be required when queue is more refined to better assess the potential transmission constraints. This assessment may not be required for EO Resources
Redevelopment - I&C Analysis
Relative Market Location
|  | 2 | Positive basis, near-term retirements, IX developments that will improve POI
1
0
I&C Score - Redevelopment
|  | 5 | 300+ bps higher than target IRR; high viability of offtake agreement and / or sufficient merchant revenues to underwrite project economics | Before full evaluation, consider basis evaluation
|  | 4 | +100 - +300 bps higher than target IRR; medium viability of offtake agreement and / or sufficient merchant revenues to underwrite project economics | Before full evaluation, consider basis evaluation
|  | 3 | (100) - +100 within range of target IRR; somewhat uncertain viability of offtake agreement and / or sufficient merchant revenues to underwrite project economics | Before full evaluation, consider basis evaluation
|  | 2 | 100-300 bps lower than target IRR; uncertain path to offtake agreement or relies on material market developments / transmission upgrades / retirements outside of the project’s control | Before full evaluation, consider basis evaluation
|  | 1 | (300+) bps lower versus target IRR; no visibility of sufficient offtake agreement and merchant revenues do not currently support development project economics | Before full evaluation, consider basis evaluation
Initial Screening
Do any Zeros kill the deal?
Is overall IX score <=2?
Is overall IX score <=2?
Is it a target market?
Review relative market location, near term retirements, and network improvements in the area
Yes
No
Is there sufficient land for development?
Yes
No
Check w/M&A on Thermal score before proceeding. Land may be available in future...
Score and prioritize for M&A
Are there incentives, state or local?
Yes
No
Pass, inform M&A
Score and prioritize for M&A
Draft
Adjust by relative PT Strategic Value: Gas supply relationships, partnerships, equipment suppliers, data center JV...
Yes
No
Pass on opportunity
Score
Adjust by relative locational value:
Quantify Redevelopment cost savings / benefits - similar to brownfield/greenfield analysis - deliver to I&C team
Pass Opportunity to Redevelopment Team for evaluation